|  | ST. JOSEPH’S COLLEGE OF ENGINEERING AND TECHNOLOGY A.S Nagar, Elupatti– Thanjavur. (Approved by AICTE-New Delhi, Affiliated to Anna University, Chennai.) |
| --- | --- |
|  | Department of Mechanical Engineering |
|  | CONTINUOUS INTERNAL ASSESSMENT TEST-II, OCT - 2026 |

| Reg.No | 8 | 2 | 1 | 9 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Regulation | R2021 |  |  |  |  |  |  |  |  |  |  |  |
| Course Code-Name | OML351 – Introduction to Non-Destructive Testing |  |  |  |  |  |  |  | SET- B |  |  |  |
| Year / Semester | IV & VII |  |  |  |  |  |  |  | Total Marks:100 |  |  |  |
| Date - Time | __.10.2026 / 9.30AM TO 12.30PM |  |  |  |  |  |  |  |  |  |  |  |
| Course Instructor | Dr. S. R. Sathishkumar, AP/ MECH |  |  |  |  |  |  |  |  |  |  |  |
| C406-OEIII14.3 - Calibrate the instrument and inspect for in-service damage in the components by means of Eddy current testing as well as Thermography testing. |  |  |  |  |  |  |  |  |  |  |  |  |
| C406-OEIII14.4 - Differentiate various techniques of UT and AET and select appropriate NDT methods for better evaluation. |  |  |  |  |  |  |  |  |  |  |  |  |
| C406-OEIII14.5 - Interpret the results of Radiography testing and also have the ability to analyse the influence of various parameters on the testing. |  |  |  |  |  |  |  |  |  |  |  |  |
| L1-Remember , L2-Understand , L3-Apply , L4-Analyze , L5 -Evaluate , L6-Create |  |  |  |  |  |  |  |  |  |  |  |  |

| Answer All Questions / PART – A (10×2 = 20 Marks) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Q.NO | QUESTIONS | Marks | CO | LEVEL |
| 1. | List the primary instruments used for infrared detection in thermography. | 2 | C406-OEIII14.3 | R |
| 2. | Differentiate between contact and non-contact methods of thermography. | 2 | C406-OEIII14.3 | U |
| 3. | Explain the limitations of the eddy current testing method. | 2 | C406-OEIII14.3 | U |
| 4. | Name the main components of a basic acoustic emission instrumentation chain. | 2 | C406-OEIII14.4 | R |
| 5. | List two industrial applications of the acoustic emission technique. | 2 | C406-OEIII14.4 | R |
| 6. | Compare A-scan, B-scan and C-scan data presentation methods. | 2 | C406-OEIII14.4 | U |
| 7. | Compare the advantages and limitations of ultrasonic testing and acoustic emission technique. | 2 | C406-OEIII14.4 | U |
| 8. | State the purpose of an exposure chart in radiography. | 2 | C406-OEIII14.5 | R |
| 9. | Differentiate between the generation of X-rays and gamma rays. | 2 | C406-OEIII14.5 | U |
| 10. | Explain the importance of the inverse square law in radiation safety for personnel. | 2 | C406-OEIII14.5 | U |
| PART – B (5×13 = 65 Marks) |  |  |  |  |
| 11.a | Apply infrared thermography instrumentation to suitable applications, with a neat block diagram. | 13 | C406-OEIII14.3 | Ap |
| OR |  |  |  |  |
| 11.b | Apply the following terms to an eddy current inspection with practical examples: (i) Inductive reactance (ii) Impedance (iii) Lift-off (iv) Edge effect. | 13 | C406-OEIII14.3 | Ap |
| 12.a | Apply AE instrumentation to design an experimental setup for acoustic emission testing and explain the function of each component. | 13 | C406-OEIII14.4 | Ap |
| OR |  |  |  |  |
| 12.b | Apply TOFD and phased array techniques in ultrasonic testing to suitable inspection requirements, with neat sketches. | 13 | C406-OEIII14.4 | Ap |
| 13.a | (i) Apply A, B and C-scan presentations to specific engineering applications. (ii) Demonstrate the construction of an ultrasonic probe with a neat diagram. | 13 | C406-OEIII14.4 | Ap |
| OR |  |  |  |  |
| 13.b | Apply different methods of ultrasonic testing to real-world inspection problems, with suitable sketches. | 13 | C406-OEIII14.4 | Ap |
| 14.a | Demonstrate the generation of gamma rays by radioactive decay and apply their key properties to industrial radiography. | 13 | C406-OEIII14.5 | Ap |
| OR |  |  |  |  |
| 14.b | Apply the inverse square law and exposure factors (kV, mA, time, SFD, thickness) to select radiographic technique parameters. | 13 | C406-OEIII14.5 | Ap |
| 15.a | Apply SWSI and DWSI techniques in radiography testing of pipes, with neat sketches. | 13 | C406-OEIII14.5 | Ap |
| OR |  |  |  |  |
| 15.b | Apply a standard film radiography workflow to minimise handling and processing defects. | 13 | C406-OEIII14.5 | Ap |
| PART – C (1×15 = 15 Marks) |  |  |  |  |
| 16.a | Evaluate eddy current testing and its instrumentation for a specific engineering application, and assess its limitations and improvements. | 15 | C406-OEIII14.3 | E |
| OR |  |  |  |  |
| 16.b | Evaluate active and passive thermography for a given inspection scenario and justify the most effective method. | 15 | C406-OEIII14.3 | E |

Course Instructor		                 HOD		                   IQAC Coordinator